
[image: image1.png]



FRP Specifications

Section 06 80 00
Fiberglass Reinforced Polymer (FRP) 
Ladders and Cages and Fabrications
REVISED 11.2024
	BRISTOL FACILITY
	

	400 Commonwealth Ave., Bristol, VA  24201 USA

(276) 645-8000
	


	HIGHLANDS FACILITY
	CHATFIELD FACILITY

	26770 Newbanks Road, Abingdon, VA  24210 USA

(276) 645-8000
	1610 Highway 52 South, Chatfield, MN  55923 USA

(507) 867-3479


www.strongwell.com
Liability Disclaimer

The specifications and material property information contained in these STRONGWELL SPECIFICATIONS are provided as a service to architects and Design Engineers who desire to use this information in the creation of construction specification documents.  The use of these specifications is at your own risk.  These specifications may contain errors, omissions, and inaccuracies.  NEITHER STRONGWELL NOR ANY OTHER PARTY INVOLVED IN THE CREATION OF THESE SPECIFICATIONS SHALL BE LIABLE FOR ANY DIRECT, INDIRECT, SPECIAL, INCIDENTAL, CONSEQUENTIAL, OR PUNITIVE DAMAGES ARISING OUT OF OR CONNECTED IN ANY MANNER WITH YOUR ACCESS TO OR USE OF THESE STRONGWELL SPECIFICATIONS INCLUDING, WITHOUT LIMITATION, ANY LOST PROFITS, BUSINESS INTERRUPTION, OR LOSS OF PROGRAMS OR INFORMATION, EVEN IF STRONGWELL HAS BEEN SPECIFICALLY ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.  WITHOUT LIMITING THE FOREGOING, EVERYTHING IN THESE SPECIFICATIONS IS PROVIDED TO YOU “AS IS” WITHOUT WARRANTY OF ANY KIND, EITHER EXPRESSED OR IMPLIED INCLUDING, BUT NOT LIMITED TO, THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE, TITLE, NONINFRINGEMENT AND FREEDOM FROM COMPUTER VIRUS.

Strongwell reserves the right to change its website at any time, including these STRONGWELL SPECIFICATIONS, as well as the terms and conditions of its website, and you will be bound by the terms of any such changes.  In this regard, we suggest that you refer to Strongwell’s website terms and conditions periodically so that you are aware of any changes.

Table of Contents
PART 1: GENERAL

1.01
Related Documents
3

1.02
Summary
3

1.03
Scope of Work
3

1.04
Quality Assurance
3

1.05 
Design Criteria
3-4

1.06
Submittals
4

1.07
Shipping and Storage Instructions
4
PART 2: PRODUCTS

2.01
General
4

2.02
FRP Ladders and Cages
5-6
PART 3: EXECUTION


3.01
Preparation
7

3.02
Inspection and Testing
7

3.03
Installation, General
7

3.04
All FRP Installation
7

SECTION 06 80 00
FIBERGLASS REINFORCED POLYMER (FRP) PRODUCTS AND FABRICATIONS

PART 1 – GENERAL

1.01 RELATED DOCUMENTS:

A. Drawings and general provisions of Contract, including General and Supplementary Conditions and Division-1 Specification Sections, apply to work of this section.

1.02 SUMMARY:

A. This section includes FRP Products & Fabrications for FRP Ladders and Cages.
1.03 SCOPE OF WORK:

A. Furnish all labor, materials, equipment and incidentals governed by this section necessary to install the fiberglass reinforced polymer (FRP) products as specified herein.

1.04 QUALITY ASSURANCE:

A. The material covered by these specifications shall be furnished by an ISO 9001 certified manufacturer of proven ability who is regularly engaged in the manufacture, fabrication and installation of FRP systems.

B. Substitution of any component or modification of system shall be made only when approved by the Architect or Design Engineer.

C. Manufacturer Qualifications: A company with a minimum of 10-years of experience in successfully producing FRP shapes required for this project, with sufficient production capacity to produce required units without causing delay in the work.
D. In addition to requirements of these specifications, comply with manufacturer’s instructions and recommendations for work.

1.05 DESIGN CRITERIA:

A. The design of FRP ladder and cage systems including connections shall meet the requirements set forth in OSHA 1910.23 and 1926.1053, local building codes and industry standards as applicable.
B. The minimum design live load shall be a single concentrated load of 200 pounds.  Additional concentrated live load units of 200 pounds each as determined from anticipated usage of the ladder shall be located at such points as will cause the maximum stress in the member being considered.
C. Temperature exposure is limited to 100°F (38°C) unless specifically stated otherwise in drawings and/or supplementary conditions.
1.06 SUBMITTALS:
A. Shop drawings of ladders and cages shall be submitted to the Design Engineer for approval in accordance with the requirements of Section ______. Fabrication shall not start until receipt of Design Engineer’s approval marked “Approved As Submitted” or “Approved As Noted”.

B.
Manufacturer’s catalog data showing:

1. Materials of construction

2. Dimensions, spacings, and construction per the applicable Strongwell Fabrication Worksheet (all worksheets available at www.strongwell.com). 
C.
Detail shop drawings showing:

1. Dimensions

2. Sectional assembly

3. Location and identification mark

4. Size and type of supporting frames required
D. Samples of each type of product shall be submitted for approval in accordance with the requirements of Section ______.
1.07 SHIPPING AND STORAGE INSTRUCTIONS:
A. All systems, sub-systems and structures shall be shop fabricated and assembled into the largest practical size suitable for transporting.

B. All materials and equipment necessary for the fabrication and installation of pultruded ladders and cages shall be stored before, during, and after shipment in a manner to prevent cracking, twisting, bending, breaking, chipping or damage of any kind to the materials or equipment, including damage due to over exposure to the sun. Any material which, in the opinion of the Design Engineer, has become damaged as to be unfit for use, shall be promptly removed from the site of work, and the Contractor shall receive no compensation for the damaged material or its removal.

C. Identify and match-mark all materials, items and fabrications for installation and field assembly.
PART 2 – PRODUCTS

2.01 GENERAL:
A. Materials used in the manufacture of the FRP ladders and cages shall be raw materials in conformance with the specification and certified as meeting the manufacturer’s approved list of raw materials.
B. All raw materials shall be as specified by the contract.

C. The visual quality of the pultruded shapes shall conform to ASTM D4385.

D. With the exception of ladder hoops and NSF ladders, FRP ladders and cages shall be manufactured using a pultruded process utilizing _______ (select polyester or vinyl ester) resin with flame retardant and ultraviolet (UV) inhibitor additives. A synthetic surface veil fabric shall encase the glass reinforcement.  FRP shapes shall achieve a flame spread rating of 25 or less in accordance with ASTM test method E-84, the flammability characteristics of UL 94 V0 and the self-extinguishing requirements of ASTM D635. (Polyester resin is available without flame retardant and UV inhibitor additives.)

For ladders and cages submerged in potable water, a polyester resin shall be utilized that meets NSF/ANSI/CAN standard 61, or approved painting system that meets NSF/ANSI/CAN standard 61, either certified for potable water applications as required. A synthetic surface veil shall be the outermost layer covering the exterior surface.

E. If required, after fabrication, all cut ends, holes and abrasions of FRP shapes shall be sealed with a compatible resin coating.

F. FRP products exposed to weather shall contain an ultraviolet inhibitor. Should additional ultraviolet protection be required, a one mil minimum UV coating can be applied.

G. All exposed surfaces of pultruded materials shall be smooth and true to form, consistent with ASTM D4385.
H. Manufacturers:

1. Strongwell

I. Pultruded FRP products shall be manufactured and fabricated in the USA. Manufacturer shall provide a written Certificate of Compliance.

J. The materials covered by these specifications shall be furnished by an ISO 9001 certified manufacturer.

2.02 FRP LADDERS AND CAGES:
A. Performance Requirements
1. Ladder and cage systems shall meet the requirements set forth in OSHA 1910.23 and 1926.1053, local building codes and industry standards as applicable. 

B. Materials
1. The side rails and cage straps shall be fiberglass reinforced pultruded polyester with OSHA safety yellow pigment. As an option, an industrial grade polyurethane yellow coating may be applied to the finished ladder and cage.  Other colors are available as an option.
2. The side rails shall be 2” x 2” x 0.156” (51 x 51 x 4mm) or 2-3/8” x 2-3/8” x 3/16” (60 x 60 x 4.76mm) square tube. The rungs shall be pultruded 1-1/4” (31.75mm) diameter FRP fluted tube.

3. Cage hoops shall be manufactured by the open mold hand lay-up process with a width of 3” (76mm) and thickness of 1/4” (6.4mm) minimum. The cage shall be interconnected with 2” (51mm) x 3/16” (5mm) pultruded straps spaced 9” (230mm) on center around the hoop.

4. Fiberglass pultruded rails, cage straps, fluted tube and cage hoops to be manufactured by Strongwell.


C.
Fabrication Requirements
1. All joints and rungs shall be riveted. The hoops shall be attached to the rails in a manner which provides hand clearance throughout the length of the ladder.

2. Ladders shall be shop assembled, and as an option may be pre-drilled and prepared for field attachments of standoff clips.

3. The ladder cages shall be shipped assembled or as an option may be shipped unassembled for field assembly using rivets or bolts.


D.
Workmanship
1. If required, all cut or machined edges, holes and abrasions shall be sealed with a resin compatible with the resin matrix used in the structural shape.


E.
Approved Fabricators
1. Strongwell, or a Strongwell-trained fabricator

F. 
Installation
1. All FRP ladder sections shall be installed as shown on the approved shop drawings.
PART 3 – EXECUTION

3.1 PREPARATION:
A. Coordinate and furnish anchorages, setting drawings, diagrams, templates, instructions and directions for installation of anchorages, including concrete inserts, sleeves, anchor bolts and miscellaneous items having integral anchors that are to be embedded in concrete or masonry construction.  

B. Coordinate delivery of such items to project site.
3.02
INSPECTION AND TESTING:

A. The Design Engineer shall have the right to inspect and test all materials to be furnished under these specifications prior to their shipment from the point of manufacture.

B. All labor, power, materials, equipment and appurtenances required for testing shall be furnished by the Contractor at no cost to the Owner.
3.03    INSTALLATION, GENERAL:
A. Fastening to in-place construction: Provide anchorage devices and fasteners where necessary for securing miscellaneous FRP fabrications to in-place construction; include threaded fasteners for concrete and masonry inserts, toggle bolts, through-bolts, lag bolts and other connectors as determined by the Design Engineer.

B. Cutting, fitting and placement: Perform cutting, drilling and fitting required for installation of miscellaneous FRP fabrications. Set FRP fabrication accurately in location, alignment and elevation; with edges and surfaces level, plumb, true and free of rack; measured from established lines and levels.

C. Provide temporary bracing or anchors in form work for items that are to be built into concrete masonry or similar construction.

3.04
ALL FRP INSTALLATION:

A. If required, all field cut and drilled edges, holes and abrasions shall be sealed with a catalyzed resin compatible with the original resin as recommended by the manufacturer. 
B. Install items specified as indicated and in accordance with manufacturer’s instructions.

End of Section 06 80 00
068000-8 
May 2021
                     
May 2021
                      068000-7

